BACKFLOW PREVENTION ASSEMBLY TEST AND MAINTENANCE REPORT

Customer must retain a copy of this report annually

Private Well: ___ or City	Meter/Account No.:	Test No.:

Service Name:

Service Address:

Contact Person:	Title:	Phone:

Owner/Mgmt Co/Contractor:

Mailing Address:

Contact Person:	Title:	Phone:

New	Existing

Replacement For:

Use:	Containment	Isolation	Domestic	Fire	Irrigation	Process

Assembly Type:	Reduced Pressure	Double Check	Pressure Vacuum Breaker	Other:

Mfg.:	Model No.:	Size:	Serial No.:

Date Installed:	Last Inspection:	Line Pressure:	PSI

Location:

|  | Initial Test Result Tightness Differential |  | Comments | Re-Test Results Tightness Differential |  |
| --- | --- | --- | --- | --- | --- |
| Check No 1 (RP, DC, PVB) | Leak Tight |  |  | Leak Tight |  |
| Check No 2 (RP, DC) | Leak Tight |  |  | Leak Tight |  |
| Relief Valve (RP) |  |  |  |  |  |
| Buffer (RP) |  |  |  |  |  |
| Air Inlet (PVB) |  |  |  |  |  |
| Shut-off valve No. 1 Leak Tight |  |  |  |  |  |
| Shut-off valve No. 2 Leak Tight |  |  |  |  |  |

Repairs/Comments:

# Assembly Mechanical Test:	Passed	Failed

If mechanical test fails, the City Building Inspections office (757-562-8580) must be notified immediately and repairs made as soon as possible.

Alarm Company/Fire Department notification:

Turn Off Date:	Time:	Turn On Date:	Time:

Technician certifies this assembly has been tested in accordance with ASSE Procedures: 5010-

Tester Name:	Certification No.:	Expires:

Tester Signature:	Test Date:	Time:

Tester Phone:	Test Gauge:	Gauge Re-Cert Date:

# Owner or Agent Signature:   X

Signature indicates verification by Signer that isolation valves were returned to pre-test orientation.